## Utilization Pattern
v25.1.0 - 7/2025
Phius Non-Residential Occupancy Calculator |  |  |  |  | Required Input cells. |  |  | Required dropdown menu inputs.
[5 empty] | Constants & Instructions |  |  | Calculated for WUFI or METr
WUFI Passive / MEtr: Internal Loads/Occupancy > Utilization Pattern
Name (Utilization Pattern) |  | Begin Utilization [hr] | End Utilization [hr] | Annual Utilization Days [days/yr] | Illumination Level [lux] | Height of Utilization Level |  | Relative Absence |  | Part use factor of operating period for lighting |  |  | WUFI / METr Input →
1-6 Workstation Office |  | 7 | 18 | 250 | Varies per Appendix N-8 of Phius 2024 Guidebook |  |  | 0.3 |  | Varies per Appendix N-8 of Phius 2024 Guidebook
Meeting, Conference and Seminar Room |  | 7 | 18 | 250 |  |  |  | 0.5
|  | 0 | 0 |  |  |  |  | 0
|  | 0 | 0 |  |  |  |  | 0
|  | 0 | 0 |  |  |  |  | 0
|  | 0 | 0 |  |  |  |  | 0
|  | 0 | 0 |  |  |  |  | 0
|  | 0 | 0 |  |  |  |  | 0
Project-Specific Space Types, Daily Operation and Occupancy | [12 empty] | Calculations
Occupied Space / Room | Utilization Pattern | 24-Hour Clock (1:30 pm = 13.5) |  | Weeks/yr | Relative Absence | Maximum Occupancy per day | [6 empty] | Time Frame (hrs) | # days / week | Hrs / week | Daily Occupancy | Weighted Relative Absence (occupant based) | Avg Occ per Util.Day | Design Occ / Util Day
|  | Start Hours | End Hours |  |  | M | T | W | TH | F | Sa | Su
Office 101 | 1-6 Workstation Office | 7 | 18 | 50 | 0.3 | 5 | 2 | 2 | 5 | 5 | 0 | 0 | 11 | 5 | 55 | 3.8 | 0.3 | 1.2192 | 3.8
Meeting Room 102 | Meeting, Conference and Seminar Room | 7 | 18 | 50 | 0.5 | 10 | 10 | 10 | 10 | 10 | 0 | 0 | 11 | 5 | 55 | 10 | 0.5 | 2.2917 | 10
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -
| -Select from Dropdown- | [11 empty] | - | 0 | - | - | - | - | -

## Occupancy
v25.1.0 - 7/2025
WUFI Passive / METr: Internal Loads/Ocupancy > Occupancy
Occupant Quantity (Average) | 4 | WUFI / METr Input →
Occupied Space / Room |  | Utilization Pattern | Activity | Occupant Quantity | WUFI / METr Input →
Office 101 |  | 1-6 Workstation Office | Kid, 0-10 years or Adult, sitting or Adult, standing or light work | 4
Meeting Room 102 |  | Meeting, Conference and Seminar Room |  | 10
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0
- |  | -Select from Dropdown- |  | 0

## Dropdown Options (hidden)
-Select from Dropdown-
1-6 Workstation Office
Meeting, Conference and Seminar Room